1. GENERAL DATA

PROJECT NAME:

PROJECT NO.:

WC P.O. / CONTRACT NO.:

| 2. EQUIPMENT DATA |
| --- |
| EQUIPMENT TITLE: | LOCATION: |
| MAKE: | MODEL: |
| TYPE: | WC DWG NO: |
| SERIAL NO: |  |

| 3. INSPECTION | YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
| 1 | Gearbox breather fitted |  |  |  |  |
| 2 | Gearbox oil level confirmed |  |  |  |  |
| 3 | Thermal overload set; value |  |  |  |  |
| 4 | Motor rotation confirmed |  |  |  |  |
| 5 | Run current; value |  |  |  |  |
| 6 | Check for vibrations and correct operation |  |  |  |  |
| 7 | Record run time values |  |  |  |  |
| 8 | Record set times for water feeds Wash on time Dwell time Flush on time |  |  |  |  |
| 9 | Confirm operation of plug breaker actuator on drop box to Spirotainer bin |  |  |  |  |

| 4. COMMISSIONING CHECK | YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
| 1 | Check water feeds. Adjust times as required |  |  |  |  |
| 2 | Run current; value |  |  |  |  |
| 3 | Observe product output for quality |  |  |  |  |
| 4 | Confirm operation of plug breaker on drop box to Spirotainer bin |  |  |  |  |

5. REMARKS / REMEDIAL ACTIONS

| 6. SIGNOFFS |  |
| --- | --- |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |