A) INTRODUCTION

The following procedure is intended to ensure that the quality of constructed product and its associated activities are completed by competent persons and:

- Comply with current and applicable specified requirements (including Corporation specifications / contract terms and conditions, national / international standards, manufacturer’s recommendations and industry best practices.

- Are conducted in a safe and professional manner.

- Provide an audit trail for verification of Quality Assurance and Quality Control compliance.

This procedure is for EMERGENCY EYEWASH AND SHOWER EQUIPMENT

Competent personnel shall complete all inspection / construction activities and record all activities on Water Corporation Document (ITP-PC-M-SHOWER) for each asset inspected.

NOTE:

- Please ensure that all ITP documents are completed by a competent person and that all Water Corporation SAFETY and operational requirements are to be complied with at all times in relation with Water Corporation and AS/NZS Standards where applicable.

B) COMPLETED DOCUMENTS

Completed documents are to be scanned and saved as a .pdf file in the relevant AQUA folder utilising the following naming convention:

LOCATION - DISCIPLINE - ASSET – ASSET TYPE – VENDOR NAME – DOCUMENT TYPE – P&ID TAG – REVISION NUMBER

E.g. RavenswoodPS_M_Valve_Butterfly_Tyco_PC_1000BV3422_1

Feedback on improvements to ITPs should be directed to PMB Mechanical for incorporation into future versions.

1. REFERENCE INFORMATION

INSPECTION DATA

PROJECT NAME:

LOCATION:

INSPECTION DATE:

INSPECTOR NAME:

PROJECT / CONTRACT NO:

DESIGN CRITERIA:

TEST FLUID:

ATTENDEES:

| 2. RECOMMENDED EQUIPMENT |
| --- |
|  | 120L Shower Test Bin |
|  | Shower Test Sock |
|  | Shower Pattern Test Frame |
|  | Eyewash Test Pattern Gauge |
|  | Eyewash Aerator Removal Key |
|  | 20L Plastic Bucket |
|  | 10L Plastic Tray |
|  | Flexible Plastic Hose |
|  | Stopwatch |
|  | Thermometer |

| 3. INSPECTION PREPARATION |
| --- |
|  | OSH compliance requirements. |
|  | Obtain QA / QC documentation (review outstanding items). |
|  | Relevant Water Corporation standards. |
|  | Relevant Australian Standards. |
|  | Supporting contract documentation / approved drawings. |
|  | Provision of required test equipment (portable pressure monitor). |
|  | Provision of required test reports and certificates |
|  | Provision of completed construction verification |

| 4. INSPECTION PRELIMINARIES | YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
| 1 | “Punchlist” reviewed and free of significant defects preventing asset pre-commissioning? |  |  |  |  |
| 2 | Hazard identification and risk assessment for asset pre-commissioning complete? |  |  |  |  |
| 3 | Is the shower supplied by a potable water supply main? *Where no potable water supply main is available, the station water supply shall consist of a 3 to 5kL polyethylene or GRP tank installed outdoors on a concrete slab with a platform* |  |  |  |  |
| 4 | Confirm shower head height conforms to the following requirements: not less than 2083mm nor more than 2438mm in height from the surface on which the user stands. |  |  |  | Shower head height: ______________ |
| 5 | Does shower remain in operation without interference? |  |  |  |  |
| 6 | Does the shower operate in one second or less? |  |  |  |  |
| 7 | Confirm stay-open valve is corrosion resistant. |  |  |  |  |
| 8 | Confirm operating valve is not located more than 1733mm above the level on which the user stands. |  |  |  | Valve height:____________ |
| 9 | Highly visible sign present, positioned so the sign is visible throughout the area served by the shower? |  |  |  |  |
| 10 | Is the area around the emergency shower well illuminated? |  |  |  |  |
| 11 | In localities subject to high ambient temperatures a thermostatic relief valve shall be included. The relief valve setting shall be 37°C opening and 35°C closing. |  |  |  |  |
| 5. EYEWASH UNIT |
| 1 | Confirm eyewash unit height conforms to the following requirements: not less than 838mm nor more than 1143mm in height from the surface on which the user stands. |  |  |  | Eyewash unit height: _____________ |
| 2 | Confirm eyewash unit is at least 153mm from the wall or nearest obstruction. |  |  |  | Distance from wall:_______________ |
| 3 | Are the nozzles protected from airborne contaminants? Removal of protection shall not require a separate motion by the operator when activating the unit. |  |  |  |  |
| 4 | Once activated, can the eyewash be used without requiring the use of the operator’s hands? |  |  |  |  |
| 5 | Is the stored flushing fluid protected against airborne contaminants? |  |  |  |  |
| 6 | If fluid supply is time limited, is this clearly indicated and quantified by prominent signage adjacent to the equipment? |  |  |  |  |
| 7 | Does the eyewash unit allow enough room to use hands to hold open eyelids while they are in the flushing fluid stream? |  |  |  |  |
| 8 | Does eyewash operate without interference? |  |  |  |  |
| 9 | Does eyewash operate in one second or less? |  |  |  |  |
| 10 | Confirm stay-open valve is corrosion resistant. |  |  |  |  |

| 6. TEST | YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
| Emergency Showers |
| 1 | Using a flowmeter or other means, confirm that the shower can discharge at least 75.7 L/min (for a minimum of 15 minutes). |  |  |  | Discharge Rate: ______________ |
| 2 | Does the spray pattern have a diameter of at least 508mm at 1524mm above the surface on which the user stands? |  |  |  | Spray pattern diameter: ___________ |
| 3 | Is the spray pattern evenly spread? |  |  |  |  |
| 4 | Measure the delivered water temperature. Is the water temperature between 15°C - 35°C? |  |  |  | Water temperature: ______________ |
| Emergency Eyewash |
| 1 | Using a flowmeter or other means, confirm that the eyewash/facewash combination unit can discharge at least 11.4L/min. Both flowrates must be achieved for at least 15 minutes. |  |  |  | Discharge Rate: _________________ |
| 2 | Using a test gauge or other means, confirm that within 38mm below the fluids peak that the fluid stream is at least 51mm in diameter. |  |  |  | Fluid stream diameter: ____________ |
| Dual Operation |
| 1 | When both the shower and eyewash are operated simultaneously, are testing parameters outlined above still achieved? |  |  |  |  |

| 7. REMARKS / REMEDIAL / FOLLOW UP ACTIONS | ACTION BY | TARGET DATE | STATUS |
| --- | --- | --- | --- |

| 8. SIGNOFFS |
| --- |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |