1. GENERAL DATA

PROJECT NAME:

PROJECT NO.:

WC P.O. / CONTRACT NO.:

| 2. EQUIPMENT DATA |
| --- |
| EQUIPMENT TITLE: | LOCATION: |
| MAKE: | MODEL: |
| TYPE: | WC DWG NO: |
| SERIAL NO: |  |

| 3. INSPECTION | YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
| 1 | Gearbox breather fitted |  |  |  |  |
| 2 | Gearbox oil level confirmed |  |  |  |  |
| 3 | Thermal overload set; value |  |  |  |  |
| 4 | Motor rotation confirmed |  |  |  |  |
| 5 | Torque overload test; value |  |  |  |  |
| 6 | Torque overload set; value |  |  |  |  |
| 7 | Run current; value |  |  |  |  |
| 8 | Run torque; value |  |  |  |  |
| 9 | Output from high level switch confirmed (local LED or PLS input) |  |  |  |  |
| 10 | Output from high high level switch confirmed (local LED or PLS input) |  |  |  |  |
| 11 | Output from motion sensor confirmed (local LED or PLS input) |  |  |  |  |
| 12 | Inlet slide gates open & close without interference |  |  |  |  |
| 13 | Check position switch operation |  |  |  |  |
| 14 | Operation of placing and removing spirotainer for any issue |  |  |  |  |

| 4. COMMISSIONING CHECK | YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
| 1 | Run current; value |  |  |  |  |
| 2 | Run torque; value |  |  |  |  |
| 3 | Absence of excessive noise / vibration |  |  |  |  |
| 4 | Absence of excessive leakage from gland packing, adjust if necessary |  |  |  |  |

5. REMARKS / REMEDIAL ACTIONS

| 6. SIGNOFFS |  |
| --- | --- |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |