- All ITR documents to be completed & witnessed by competent person/s

- Compliance to be achieved to contract requirements and all latest versions of applicable standards

| 1. REFERENCE INFORMATION |
| --- |
| INSPECTION DATA | ASSET DATA |
| PROJECT NAME: | MANUFACTURER: |
| LOCATION: | MF SERIAL NO: |
| INSPECTION DATE: | WC FLER / TAG NO: |
| INSPECTOR NAME: | TYPE / MODEL NO / SIZE: |
| PROJECT / CONTRACT NO: | DESIGN CRITERIA: |
| ATTENDEES: |

| 2. INSPECTION PREPARATION |
| --- |
|  | OSH compliance requirements. |
|  | Obtain QA / QC documentation (review outstanding items). |
|  | Relevant Water Corporation standards. |
|  | Relevant Australian Standards. |
|  | Supporting contract documentation / approved drawings. |
|  | Provision of required test equipment. |
|  | Provision of required test reports and certificates; i.e. hydrostatic test, material certificates, etc. |
|  | Provision of completed construction verification |

| 3. INSPECTION PRELIMINARIES | YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
| 1 | “Punchlist” reviewed and free of significant defects preventing asset pre-commissioning? |  |  |  |  |
| 2 | Hazard identification and risk assessment for asset pre-commissioning complete? |  |  |  |  |
| 3 | Mechanical site specific pre-requisite ITPs complete? |  |  |  |  |

*Contents of Section 3 (Inspection) and Section 4 (Test) are Asset Specific and shall reflect relevant SPS / Australian Standard(s) where practicable. Entries shall also be worded to reflect the procedures involved in a step-by-step manner; i.e. “Conduct visual inspection and ensure pre-start photographs are taken”, “Extract bearing housing covers to expose bearings and full shaft length”.

| 4. INSPECTION & TESTING | YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
|  | REDUCED PRESSURE ZONE DEVICE testing acceptance criteria is as follows: | Testing shall be documented in accordance with the requirements of AS 2845.3 by an appropriately qualified licensed plumber. Refer to Figures D1 and F1 for arrangement, and Appendices D and F for procedure. Test report shall be as per Appendix K. |
| 1 | First check valve pressure differential is 35 kPa or greater. |  |  |  |  |
| 2 | Relieves to atmosphere at 14 kPa or greater. |  |  |  |  |
| 3 | Second check valve pressure differential is tight. |  |  |  |  |
| 4 | Main valve upstream and downstream isolating valves are watertight. |  |  |  |  |
| 5 | For reduced-pressure detector assemblies, the sum of the main valve check valve pressure differential is greater than 20 kPa of the bypass assembly pressure differentials. |  |  |  |  |
|  | DOUBLE CHECK VALVE testing acceptance criteria is as follows: | Testing shall be documented in accordance with the requirements of AS 2845.3 by an appropriately qualified licensed plumber. Refer to Figures E1 and G1 for arrangement, and Appendices E and G for procedure. Test report shall be as per Appendix K. |
| 1 | Pressure differential of each check valve is 7 kPa or greater. |  |  |  |  |
| 2 | Main valve upstream and downstream isolating valves are watertight. |  |  |  |  |
| 3 | For double check detector assemblies, the sum of the main valve check valve pressure differentials is greater than 20 kPa of the by-pass assembly pressure differentials. |  |  |  |  |

*Contents of Section 5 to be retained where applicable (e.g. where coating inspection not completed during construction verification). Sections 6 & 7 to be retained in all ITPs.

| 5. COATINGS INSPECTION | YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
| 1 | Check that asset external coating is free of damage |  |  |  |  |

| 6. REMARKS / REMEDIAL / FOLLOW UP ACTIONS | ACTION BY | TARGET DATE | STATUS |
| --- | --- | --- | --- |

| 7. SIGNOFFS |
| --- |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |

APPENDIX A – SITE SPECIFIC PRE-REQUISITES

| A1. MECHANICAL PRE-REQUISITES | DONE | NO | ITR / DOCUMENT REF. |
| --- | --- | --- | --- |
|  |  |  |  | ITP-SV-M-VALVE-NON RETURN -DOUBLE CHECK |
|  |  |  |  | ITP-CV-M-VALVE-NON RETURN -DOUBLE CHECK |

APPENDIX A – SITE SPECIFIC PRE-REQUISITES (cont’d)

| A2. ELECTRICAL PRE-REQUISITES | DONE | NO | ITR / DOCUMENT REF. |
| --- | --- | --- | --- |