- All ITR documents to be completed & witnessed by competent person/s

- Compliance to be achieved to contract requirements and all latest versions of applicable standards

| 1. REFERENCE INFORMATION |
| --- |
| INSPECTION DATA | ASSET DATA |
| PROJECT NAME: | MANUFACTURER: |
| LOCATION: | MF SERIAL NO: |
| INSPECTION DATE: | WC FLER / TAG NO: |
| INSPECTOR NAME: | TYPE / MODEL NO / SIZE: |
| PROJECT / CONTRACT NO: | DESIGN CRITERIA: |
| ATTENDEES: |

| 2. INSPECTION PREPARATION |
| --- |
|  | OSH compliance requirements. |
|  | Obtain QA / QC documentation (review outstanding items). |
|  | Relevant Water Corporation standards. |
|  | Relevant Australian Standards. |
|  | Supporting contract documentation / approved drawings. |
|  | Provision of required test equipment. |
|  | Provision of required test reports and certificates; i.e. hydrostatic test, material certificates, etc. |
|  | Provision of completed construction verification |

| 3. INSPECTION PRELIMINARIES | YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
| 1 | “Punchlist” reviewed and free of significant defects preventing asset pre-commissioning? |  |  |  |  |
| 2 | Hazard identification and risk assessment for asset pre-commissioning complete? |  |  |  |  |
| 3 | Electrical construction and pre-commissioning ITPs complete? |  |  |  |  |
| 4 | Mechanical and electrical site specific pre-requisite ITPs complete? |  |  |  |  |

*Contents of Section 3 (Inspection) and Section 4 (Test) are Asset Specific and shall reflect relevant SPS / Australian Standard(s) where practicable. Entries shall also be worded to reflect the procedures involved in a step-by-step manner; i.e. “Conduct visual inspection and ensure pre-start photographs are taken”, “Extract bearing housing covers to expose bearings and full shaft length”.

| 4. INSPECTION & TESTING | YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
| This valve may be used for in line pressure or flow regulation. The valve operates on a pilot system which is based upon u/s & d/s line pressure (which may use PLC controlled solenoids) to control main line flow / pressure. |
| 1 | Confirm u/s and d/s valve isolation can be achieved before commencement. |  |  |  |  |
| 2 | Ensure fluid at the required flow / pressure is present at the valve for commissioning purposes? |  |  |  |  |
| 3 | Determine the starting position of the valve (If not closed – close valve) |  |  |  |  |
| 4 | Closed position indication correct and valve has seated correctly? |  |  |  |  |
| 5 | Valve operates smoothly throughout valve range during opening? |  |  |  |  |
| 6 | Open position indication correct? |  |  |  |  |
| 7 | Ensure valve operates smoothly throughout valve range during closure and record valve closure time? |  |  |  |  |
| 8 | Confirm Closed position indication correct and valve has seated correctly? |  |  |  |  |
| 9 | Repeat valve opening and confirm Open position indication correct? |  |  |  |  |
| 10 | Valve returned to fully closed position? |  |  |  |  |
| SOLENOID PILOT SYSTEM (To be conducted in conjunction with electrical / instrumentation personnel) |
| 11 | Pilot system setup correctly to open & close valve (solenoids / needle valves, etc…)? |  |  |  |  |
| 12 | Valve closure time used to set up PLC valve control? |  |  |  |  |
| 13 | Transducer & valve open / close position aligned to PLC valve control? |  |  |  |  |
| OPERATION |
| 14 | Confirm PLC valve control system across open / closed valve positions? |  |  |  |  |
| 15 | Valve / pilot system operates with uniform speed across valve open / close range? |  |  |  |  |
| 16 | U/s and d/s pressures flows are not excessive? |  |  |  |  |
| 17 | Valve closed and ready for plant start up? |  |  |  |  |

*Contents of Section 5 to be retained where applicable (e.g. where coating inspection not completed during construction verification). Sections 6 & 7 to be retained in all ITPs.

| 5. COATINGS INSPECTION | YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
| 1 | Check that asset external coating is free of damage |  |  |  |  |

| 6. REMARKS / REMEDIAL / FOLLOW UP ACTIONS | ACTION BY | TARGET DATE | STATUS |
| --- | --- | --- | --- |

| 7. SIGNOFFS |
| --- |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |

APPENDIX A – SITE SPECIFIC PRE-REQUISITES

| A1. MECHANICAL PRE-REQUISITES | DONE | NO | ITR / DOCUMENT REF. |
| --- | --- | --- | --- |
|  |  |  |  | ITP-SV-M-VALVE-REGULATING GLOBE |
|  |  |  |  | ITP-CV-M-VALVE-REGULATING GLOBE |

APPENDIX A – SITE SPECIFIC PRE-REQUISITES (cont’d)

| A2. ELECTRICAL PRE-REQUISITES | DONE | NO | ITR / DOCUMENT REF. |
| --- | --- | --- | --- |