A) INTRODUCTION

The following procedure is intended to ensure that the quality of constructed product and its associated activities are completed by competent persons and:

- Comply with current and applicable specified requirements (including Corporation specifications / contract terms and conditions, national / international standards, manufacturer’s recommendations and industry best practices.

- Are conducted in a safe and professional manner.

- Provide an audit trail for verification of Quality Assurance and Quality Control compliance.

This procedure is for all SOUND ATTENUATORS. Competent personnel shall complete all inspection / construction activities and record all activities on Water Corporation Document ITP-CV-M-SOUND ATTENUATOR for each asset constructed.

NOTE:

- Please ensure that all ITP documents are completed by a competent person and that all Water Corporation SAFETY and operational requirements are to be complied with at all times in relation with Water Corporation and AS/NZS Standards where applicable.

B) COMPLETED DOCUMENTS

Completed documents are to be scanned and saved as a .pdf file in the relevant AQUA folder utilising the following naming convention:

LOCATION - DISCIPLINE - ASSET – ASSET TYPE – VENDOR NAME – DOCUMENT TYPE – P&ID TAG – REVISION NUMBER

E.g. RavenswoodPS_M_Valve_Butterfly_Tyco_CV_1000BV3422_1

The commissioning manager shall coordinate incorporation of completed ITPs in conjunction with the CAMEL.

Feedback on improvements to ITPs should be directed to MESB Mechanical for incorporation into future versions.

| 1. REFERENCE INFORMATION |
| --- |
| INSPECTION DATA | ASSET DATA |
| PROJECT NAME: | MANUFACTURER: |
| LOCATION: | MF SERIAL NO: |
| INSPECTION DATE: | WC FLER / TAG NO: |
| INSPECTOR NAME: | TYPE / MODEL NO / SIZE: |
| PROJECT / CONTRACT NO: | DESIGN CRITERIA: |
| ATTENDEES: |

| 2. INSPECTION PREPARATION |
| --- |
|  | OSH compliance requirements. |
|  | Obtain QA / QC documentation (review outstanding items). |
|  | Relevant Water Corporation standards i.e. DS 31-01 |
|  | Relevant Australian Standards. |
|  | Supporting contract documentation / approved drawings. |
|  | Provision of required test equipment. |
|  | Provision of required test reports and certificates |

| 3. INSPECTION | YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
| GENERAL AND PRE-INSTALLATION |
| 1 | Confirm that the attenuator location is correct as per drawings? |  |  |  |  |
| 2 | Confirm supply verification complete? |  |  |  |  |
| 3 | Mating duct as per specification? |  |  |  | Size: |
| 4 | Mating duct clean? |  |  |  |  |
| 5 | Mating ducts sufficiently aligned? |  |  |  | Measured misalignment: _______mm |
| 6 | Confirm that there is no damage to attenuator internals, including seals? |  |  |  |  |
| INSTALLATION |
| 6 | Confirm that gaskets are as per specification? |  |  |  |  |
| 7 | Confirm that the gaskets suit the flanges? |  |  |  |  |
| 8 | Confirm surface finish of the attenuator is not damaged? |  |  |  |  |
| 9 | Verify that all bolts have been torqued to manufacturer’s recommendations |  |  |  | Final bolt torques: _____________Nm |
| 10 | Confirm all bolts sizes, materials and grades agree with manufacturers recommendations |  |  |  | Size: ________ Material: __________ Grade: 4.6 8.8 Other: _______ |
| 11 | Confirm that associated nut grade agrees with manufacturers recommendations |  |  |  | Grade: 5 8 Other __________ |
| 12 | Confirm correct protrusion of bolt threads past nut |  |  |  | Protrusion: _____________________ |
| 13 | Confirm correct bolt tightening sequence has been followed |  |  |  |  |
| 14 | Verify that torque wrench / machine used is calibrated |  |  |  | Calibration certificate date: _________ |

| 4. TESTING (NOT APPLICABLE) | YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |

| 5. REMARKS / REMEDIAL / FOLLOW UP ACTIONS | ACTION BY | TARGET DATE | STATUS |
| --- | --- | --- | --- |

| 6. SIGNOFFS |
| --- |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |