| All ITR documents to be completed & witnessed by competent person/s Compliance to be achieved to contract requirements and all latest versions of applicable standards |
| --- |
| 1. REFERENCE INFORMATION |
| INSPECTION DATA | ASSET DATA |
| PROJECT NAME: | MANUFACTURER: |
| LOCATION: | MF SERIAL NO: |
| INSPECTION DATE: | WC FLER / TAG NO: |
| INSPECTOR NAME: | TYPE / MODEL NO / SIZE: |
| PROJECT / CONTRACT NO: | DESIGN CRITERIA: |
| ATTENDEES: |

| 2. INSPECTION PREPARATION |
| --- |
|  | OSH compliance requirements. |
|  | Obtain QA / QC documentation (review outstanding items). |
|  | Relevant Water Corporation standards. |
|  | Relevant Australian Standards. |
|  | Supporting contract documentation / approved drawings. |
|  | Provision of required test equipment (portable vibration monitor and temperature sensor). |
|  | Provision of required test reports and certificates |
|  | Provision of completed construction verification |

| 3. INSPECTION PRELIMINARIES | YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
| 1 | “Punchlist” reviewed and free of significant defects preventing asset pre-commissioning? |  |  |  |  |
| 2 | Hazard identification and risk assessment for asset pre-commissioning complete? |  |  |  |  |
| 3 | Electrical construction and pre-commissioning ITPs complete? |  |  |  |  |
| 4 | Mechanical and electrical site specific pre-requisite ITPs complete? |  |  |  |  |

*Contents of Section 4 (Inspection) and Section 5 (Test) are Asset Specific and shall reflect relevant SPS / Australian Standard(s) where practicable. Entries shall also be worded to reflect the procedures involved in a step-by-step manner; i.e. “Conduct visual inspection and ensure pre-start photographs are taken”, “Extract bearing housing covers to expose bearings and full shaft length”.

| 4. INSPECTION | YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
| ROTATION |
| 1 | Pump and motor shafts rotate freely by hand without rub, noise or obvious out of balance? |  |  |  |  |
| ANCILLARY AND TEMPORARY EQUIPMENT |
| 2 | All ancillary systems available and on-line? (eg. external seal water, lube oil, cooling water, room ventilation systems) |  |  |  |  |
| 3 | Confirm pump has correct submergence for cooling (if required)? |  |  |  |  |
| 4 | Confirm correct operation of control float? |  |  |  |  |
| 5 | Confirm whether oil gallery has been filled correctly? |  |  |  |  |
| 6 | Temporary instruments (if required) installed? (eg. vibration transducers, flow meters, pressure gauges) |  |  |  |  |
| CONTROL AND PROTECTION SYSTEMS |
| 7 | All electrical / instrument control and protection systems available and on-line? (eg. pump and motor protection, process control systems) |  |  |  |  |
| 8 | All mechanical / hydraulic control and protection devices available and on-line? (eg. min. flow recirculation lines, surge vessels, relief valves, bursting discs, automatic control valves) |  |  |  |  |
| HYDRAULICS |
| 9 | Pump suction fully primed? |  |  |  |  |
| 10 | Pump casing full of liquid and all air removed? |  |  |  |  |
| 11 | All pump suction valves open? |  |  |  |  |
| 12 | Open flow path available for pumped liquid once the discharge valve is opened? |  |  |  |  |
| 13 | Seal water system primed and isolation valves open? |  |  |  |  |
| 14 | Instrument impulse lines primed and vented? |  |  |  |  |
| 15 | All connections along flow path hydraulically tight (no leaks)? |  |  |  |  |
| 16 | System static head conditions suitable for pump operation? |  |  |  |  |
| ACCESS / OTHER |
| 17 | Area around pumpset clean, free of debris and barricaded off from other works (if required)? |  |  |  |  |
| 18 | Confirm pump can be safely removed using winch and chain and/or guide rails? |  |  |  |  |
| 19 | Confirm high level alarm float does not interfere with pump operation? |  |  |  |  |
| 20 | Confirm alarms are feeding through to SCADA? |  |  |  |  |
| 21 | Confirm whether grating over sump is required and/or fitted? |  |  |  |  |
| 22 | Confirm pump power cable is fitted with a decontactor plug and installation of socket is of adequate height? |  |  |  |  |

Sections 6 & 7 to be retained in all ITPs.

| 6. REMARKS / REMEDIAL / FOLLOW UP ACTIONS | ACTION BY | TARGET DATE | STATUS |
| --- | --- | --- | --- |

| 7. SIGNOFFS |
| --- |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |