| All ITR documents to be completed & witnessed by competent person/s Compliance to be achieved to contract requirements and all latest versions of applicable standards |
| --- |
| 1. REFERENCE INFORMATION |
| INSPECTION DATA | ASSET DATA |
| PROJECT NAME: | MANUFACTURER: |
| LOCATION: | INSPECTION DATE |
| INSPECTOR NAME: |  |
| PROJECT / CONTRACT NO: | DESIGN CRITERIA: |
| ATTENDEES: |

| 2. INSPECTION PREPARATION |
| --- |
|  | OSH compliance requirements. |
|  | Obtain QA / QC documentation (review outstanding items). |
|  | Relevant Water Corporation standards. |
|  | Relevant Australian Standards. |
|  | Supporting contract documentation / approved drawings. |
|  | Provision of required test equipment (portable vibration monitor and temperature sensor). |
|  | Provision of required test reports and certificates |
|  | Provision of completed construction verification |

| 3. INSPECTION PRELIMINARIES | YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
| VESSEL DATA |  |  |  |  |
| 1 | Design pressure? |  |  |  | kPa |
| 2 | Max number of pressure cycles? |  |  |  | cycles |
| 3 | Design temperature |  |  |  | °C |
| 4 | Minimum Operating temperature |  |  |  | °C |
| 5 | Corrosion Allowance |  |  |  |  |
| 6 | Stress relieving undertaken? |  |  |  |  |
| 7 | Design Registration number? |  |  |  |  |
| 8 | Hazard Level? |  |  |  |  |
| 9 | Maximum working pressure of vessel? |  |  |  | kPa |
| 10 | Three-quarters working pressure of vessel? |  |  |  | kPa |
| 11 | Half working pressure of vessel? |  |  |  | kPa |
| PRE-START |  |  |  |  |
| 12 | “Punchlist” reviewed and free of significant defects preventing asset pre-commissioning? |  |  |  |  |
| 13 | Hazard identification and risk assessment for asset pre-commissioning complete? |  |  |  |  |
| 14 | Electrical construction and pre-commissioning ITRs complete? |  |  |  |  |
| 15 | Mechanical and electrical site specific pre-requisite ITRs complete? (See Appendix A) |  |  |  |  |

*Contents of Section 4 (Inspection) and Section 5 (Test) are Asset Specific and shall reflect relevant SPS / Australian Standard(s) where practicable. Entries shall also be worded to reflect the procedures involved in a step-by-step manner; i.e. “Conduct visual inspection and ensure pre-start photographs are taken”, “Extract bearing housing covers to expose bearings and full shaft length”.

| 4. TEST | YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
| HALF MAXIMUM WORKING PRESSURE TEST |
| 1 | Water level correct for start of leak testing? |  |  |  | Water level: ________________ m |
| 2 | Half working pressure leak test conducted at correct pressure? |  |  |  | Test pressure: ______________ kPa |
| 3 | All nozzles hydraulically tight (no leaks)? |  |  |  |  |
| 4 | Confirm air supply pressure is sufficient? |  |  |  |  |
| THREE-QUARTERS MAXIMUM WORKING PRESSURE TEST |
| 5 | Three-quarters working pressure leak test conducted at correct pressure? |  |  |  | Test pressure: ______________ kPa |
| 6 | All nozzles hydraulically tight (no leaks)? |  |  |  |  |
| 7 | Confirm air supply pressure is sufficient? |  |  |  |  |
| FULL MAXIMUM WORKING PRESSURE TEST |
| 8 | Full working pressure leak test conducted at correct pressure? |  |  |  | Test pressure: ______________ kPa |
| 9 | All nozzles hydraulically tight (no leaks)? |  |  |  |  |
| 10 | Confirm air supply pressure is sufficient? |  |  |  |  |
| 11 | Confirm pressure monitoring is operational and reading is correct |  |  |  |  |

Sections 6 & 7 to be retained in all ITRs.

| 6. REMARKS / REMEDIAL / FOLLOW UP ACTIONS | ACTION BY | TARGET DATE | STATUS |
| --- | --- | --- | --- |

| 7. SIGNOFFS |
| --- |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |

APPENDIX A – SITE SPECIFIC PRE-REQUISITES

| A1. MECHANICAL PRE-REQUISITES | DONE | NO | ITR / DOCUMENT REF. |
| --- | --- | --- | --- |
|  |  |  |  | ITR-SV-M-SURGE VESSEL |
|  |  |  |  | ITR-CV-M-SURGE VESSEL |

APPENDIX A – SITE SPECIFIC PRE-REQUISITES (cont’d)

| A2. ELECTRICAL PRE-REQUISITES | DONE | NO | ITR / DOCUMENT REF. |
| --- | --- | --- | --- |