- All ITR documents to be completed & witnessed by competent person/s

- Compliance to be achieved to contract requirements and all latest versions of applicable standards

| 1. REFERENCE INFORMATION |
| --- |
| INSPECTION DATA | ASSET DATA |
| PROJECT NAME: | MANUFACTURER: |
| LOCATION: | MF SERIAL NO: |
| INSPECTION DATE: | WC FLER / TAG NO: |
| INSPECTOR NAME: | TYPE / MODEL NO / SIZE: |
| PROJECT / CONTRACT NO: | DESIGN CRITERIA: |
| ATTENDEES: |

| 2. INSPECTION PREPARATION |
| --- |
|  | OSH compliance requirements. |
|  | Obtain QA / QC documentation (review outstanding items). |
|  | Relevant Water Corporation standards. |
|  | Relevant Australian Standards. |
|  | Supporting contract documentation / approved drawings. |
|  | Provision of required test equipment (portable vibration monitor and temperature sensor). |
|  | Provision of required test reports and certificates |
|  | Provision of completed construction verification |

| 3. INSPECTION PRELIMINARIES | YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
| VESSEL DATA |  |  |  |  |
| 1 | Design temperature |  |  |  | °C |
| 2 | Minimum Operating temperature |  |  |  | °C |
| 3 | Corrosion Allowance |  |  |  |  |
| 4 | Stress relieving? |  |  |  |  |
| 5 | Chemicals stored (if applicable)? |  |  |  |  |
| 6 | AS4343 Hazard Level Rating? |  |  |  |  |
| 7 | Maximum working volume of vessel or tank? |  |  |  | Litres |
| 8 | Worksafe Design and Plant registration numbers tag affixed (if applicable) |  |  |  |  |
| PRE-START |  |  |  |  |
| 9 | “Punchlist” reviewed and free of significant defects preventing asset pre-commissioning? |  |  |  |  |
| 10 | Hazard identification and risk assessment for asset pre-commissioning complete? |  |  |  |  |
| 11 | Electrical construction and pre-commissioning ITPs complete? |  |  |  |  |
| 12 | Mechanical and electrical site specific pre-requisite ITPs complete? (See Appendix A) |  |  |  |  |
| 13 | For chemical storage vessels and tanks, has the site manifest and dangerous goods license been updated to reflect new installation |  |  |  |  |
| 14 | For chemical storage vessels and tanks, has the Emergency Response and Contingency Plan been updated to reflect new installation |  |  |  |  |
| 15 | Confirm bunding of appropriate capacity has been installed to meet statutory requirements in a case of leakage |  |  |  |  |
| 16 | For chemical storage vessels and tanks, are material safety data sheets (SDS) readily available on site |  |  |  |  |

*Contents of Section 4 (Inspection) and Section 5 (Test) are Asset Specific and shall reflect relevant SPS / Australian Standard(s) where practicable. Entries shall also be worded to reflect the procedures involved in a step-by-step manner; i.e. “Conduct visual inspection and ensure pre-start photographs are taken”, “Extract bearing housing covers to expose bearings and full shaft length”.

| 4. TEST | YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
| HALF MAXIMUM VOLUME CAPACITY TEST |
| 1 | Water level correct for start of leak testing? |  |  |  | Water level: ________________ m |
| 2 | For concrete tanks has the appropriate duration of time been given for soakage or water absorption |  |  |  |  |
| 3 | Half working volume leak test conducted at correct level? |  |  |  | Level: ______________ m |
| 4 | All nozzles, man holes and tapping points hydraulically tight (no leaks)? |  |  |  |  |
| 5 | Confirm construction joins are leak free? |  |  |  |  |
| THREE-QUARTERS MAXIMUM VOLUME CAPACITY TEST |
| 6 | Three-quarters working volume leak test conducted at correct level? |  |  |  | Level: ______________ m |
| 7 | All nozzles, man holes and tapping points hydraulically tight (no leaks)? |  |  |  |  |
| 8 | Confirm construction joins are leak free? |  |  |  |  |
| FULL MAXIMUM VOLUME CAPACITY TEST |
| 9 | Full working volume leak test conducted at correct pressure? |  |  |  | Level: ______________ m |
| 10 | All nozzles, man holes and tapping points hydraulically tight (no leaks)? |  |  |  |  |
| DISINFECTION |
| 11 | For potable water storage vessels or tanks, has the appropriate disinfection procedure been undertaken inclusive of bacterial testing |  |  |  |  |

Sections 6 & 7 to be retained in all ITRs.

| 6. REMARKS / REMEDIAL / FOLLOW UP ACTIONS | ACTION BY | TARGET DATE | STATUS |
| --- | --- | --- | --- |

| 7. SIGNOFFS |
| --- |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |

APPENDIX A – SITE SPECIFIC PRE-REQUISITES

| A1. MECHANICAL PRE-REQUISITES | DONE | NO | ITR / DOCUMENT REF. |
| --- | --- | --- | --- |
|  |  |  |  | ITR-SV-M-VESSELS TANKS |
|  |  |  |  | ITR-CV-M-VESSELS TANKS |

APPENDIX A – SITE SPECIFIC PRE-REQUISITES (cont’d)

| A2. ELECTRICAL PRE-REQUISITES | DONE | NO | ITR / DOCUMENT REF. |
| --- | --- | --- | --- |